## Notes
Data Sources
Dataset | Dodge 2023
| Commercial End-Use Survey (CEUS) 2022 | https://www.energy.ca.gov/publications/2023/2022-california-commercial-end-use-survey-ceus-final-report
| Commercial Buildings Energy Consumption Survey (CBECS) 2018 | https://www.eia.gov/consumption/commercial/data/2018/
| ComStock 2023 | https://comstock.nlr.gov/page/datasets
Prototypes | California Energy Commission (CEC) Small Office prototype (CBECC 2022.3.1) | https://bees.noresco.com/software2022.html
| Pacific Northwest National Laboratory (PNNL) Small Office prototype (90.1-2022) | https://www.energycodes.gov/prototype-building-models#Commercial
| Database for Energy Efficient Resources (DEER) Small Office prototype (June 2023) | https://github.com/sound-data/DEER-Prototypes-EnergyPlus
| Oak Ridge National Laboratory (ORNL) 2019 Small Office prototype zoning | https://web.eecs.utk.edu/~jnew1/publications/2019_IBPSA_OpenStudioOffice.pdf
Codes | Titile 24, part 6, referred to as T24 (1984, 1992,1998, 2001, 2005, 2008, 2013, 2016,2019, 2022, 2025) | https://www.energy.ca.gov/publications/2025/2025-building-energy-efficiency-standards-residential-and-nonresidential | 2025
|  | https://codes.iccsafe.org/codes/united-states/california | 2010+
| Title 20 | https://govt.westlaw.com/calregs/Document/I270DCA634B4011EFA8F7F119BAF97AD6?viewType=FullText&originationContext=documenttoc&transitionType=CategoryPageItem&contextData=(sc.Default)
| American Society of Heating, Refrigerating and Air-Conditioning Engineers (ASHRAE) 90.1 (2022) | https://www.ashrae.org/technical-resources/standards-and-guidelines/read-only-versions-of-ashrae-standards
| Code of Federal Regulations (CFR) Title 10 (2010) | https://www.govinfo.gov/content/pkg/FR-2009-03-23/pdf/FR-2009-03-23.pdf
| CFR Title 10 (2013) | https://www.govinfo.gov/content/pkg/CFR-2013-title10-vol3/pdf/CFR-2013-title10-vol3-part431.pdf
| CFR Title 10 (2024) | https://www.govinfo.gov/content/pkg/CFR-2024-title10-vol3/pdf/CFR-2024-title10-vol3-part431-subpartF.pdf
Others | Massachusetts uses commercial prototype for its stretch code energy analysis and the above ones are the supporting documents for small office prototype | https://www.mass.gov/lists/stretch-energy-code-development-support-documentation
https://www.mass.gov/doc/small-office-prototype-basis-of-design-report/download
| Alternative Calculation Method (ACM) (2022) | https://www.energy.ca.gov/publications/2022/2022-nonresidential-and-multifamily-alternative-calculation-method-reference
| ACM (2025) | https://www.energy.ca.gov/publications/2025/2025-nonresidential-and-multifamily-alternative-calculation-method-reference
| Title 24, 2025, Appendix B: Water Heating Calculation Method | https://www.energy.ca.gov/sites/default/files/2025-11/CEC-400-2025-006-AP-B.pdf
| Nonres ACM 2022, Appendix 5.4A and Appendix 5.4B | https://www.energy.ca.gov/publications/2022/2022-nonresidential-and-multifamily-alternative-calculation-method-reference
| 2022 Reduced infiltration Codes and Standards Enhancement (CASE) report | https://title24stakeholders.com/wp-content/uploads/2020/10/2022-T24-Final-CASE-Report_Reduce-Infiltration.pdf
| 2019 Outdoor Lighting CASE Report | https://title24stakeholders.com/wp-content/uploads/2016/10/T24-2019-CASE-Study-Results-Report-Outdoor-Sources_Final_with-Attachments.pdf
| PNNL 20405, 2011 | https://www.pnnl.gov/main/publications/external/technical_reports/PNNL-20405.pdf
| Air leakage Memo, NORESCO, 2025 | Infiltration_rate_report_14May2025-Short-Version.docx
| Yousefi, F., Athalye, R., (2025), "Determining Vintage Bins for Prototype Development: An Analysis of California Commercial Buildings," ASHRAE Annual Conference | https://www.thefreelibrary.com/Determining+Vintage+Bins+for+Prototype+Development%3a+An+Analysis+of...-a0879271125
| Proposed Updates to Equipment Power Densities and Building Schedules for the 2028 Energy Code, referred to as "Plug load and schedules project with CEC, 2025" (Docket Number =25-BSTD-03 & TN=265693) | https://efiling.energy.ca.gov/GetDocument.aspx?tn=265693&DocumentContentId=102545
| Yousefi, F., Athalye, R. (2026). "Developing a New Set of Prototypical Models for Office Buildings in California," IBPSA-USA Conference | https://publications.ibpsa.org/conference/paper/?id=simbuild2026_1372
| ENERGY STAR certified commercial water heaters | https://www.energystar.gov/productfinder/product/certified-commercial-water-heaters/results?fuel_filter=Gas&markets_filter=United+States
| Grainger gas tank water heaters (sizes below commercial, e.g. 30–75 kBtu/h) | https://www.grainger.com/category/plumbing/water-heaters/gas-tank-water-heaters
| Grainger electric tank water heaters | https://www.grainger.com/category/plumbing/water-heaters/electric-tank-water-heaters
Construction Rate
[5 empty] | 1978-84 | 1985-97 | 1992-1997
|  |  |  | Construction rate (Dodge 2023 data for new small offices) | 46.54% | 53.46% | 9.365%
Source:Dodge Construction Data, 2023 ( NEW medium office built after 1967) (STC refers to building types in Dodge terminology).
Notes
OfficeSmall Prototype | The Small Office prototype was developed to represent California office buildings bellow 25,000 ft². Based on California construction data, the existing CEC/PNNL Small Office geometry was retained because it aligned well with observed building stock characteristics. The prototype is modeled as a one-story building with a total floor area of 5,502 ft². Its zoning layout was updated using ORNL-based layouts, with modifications to better reflect current design practice and simplify the model. These changes included consolidating spaces, reducing the total number of thermal zones, and incorporating elevator space into the vertical circulation area. The resulting Small Office prototype includes approximately 49.6% office space, 8.3% conference space, 13.5% storage, 12.1% corridor, 8.3% lobby, 4.1% restroom, 2% breakroom, and 2.1% mechanical room. The same geometry and zoning layout are applied across vintages and California climate zones. Information about the geometry and underlying logic of the office prototypes can be found in this paper: "Yousefi, F., Athalye, R. (2026). ‘Developing a New Set of Prototypical Models for Office Buildings in California." IBPSA-USA Conference. The link is provided above in the Data Source section. The floor area was slightly modified in some spaces during the geometry‑drawing phase.
1986 is the representative year for the 1984-1997 vintage bin | Most offices in this vintage bin were built after 1984 (more than 53% ) and the CA energy code did not noticeably changed between 1984 to 1992) . Edition 1986 included 6 prescriptive package per CZ for office buildings compared to 1984 with 3 package per CZ. Also "Heat Capacity" for external wall is considered between 10.0 to 14.99 (BTU/F/ft²) Package A was selected for the thermal properties
2001 is the representative year for the 1998-2007 vintage bin | Wall and roof prescriptive criteria from 1998 to 2005 remain unchanged except for CZ2 and 6 in 2001 code (the percentage of change is less than 10%). Since the construction rate between 1998-2005 is greater than the 2006-2007 period, the envelope properties of 1998 -2005 were chosen for envelope properties. Since the windows requirement considerably changed in the 2001 code, the nominated year for this vintage is 2001. It should be noticed that, only one Title 24 should be chosen within each vintage bin for building envelope properties since the entire envelope is built at once. We can't choose 1998 for walls and 2001 for windows. Wall and roof prescriptive criteria from 1998 to 2005 remain unchanged except for CZ2 and 6 in 2001 version (the percentage of change is less than 10%).
2013 is the representative year for the 2008-2018 vintage bin | Wall properties remain unchanged from the 2008 code to the 2016 code but the roof did changed. Although the 2016 code introduced improvement for roof in nearly all CZ and for wall in a few CZ, and construction activity surged between 2017 and 2018, the extended period from 2008 to 2016 resulted in a higher construction rate during that time . As a result, it was decided to select the code that was effective during 2008-2016. The 2013 code modified the solar reflectance requirement for low-sloped roof products ( by approximately 15%), and enhanced window properties. Therefore, the 2013 code was chosen as the representative code. Additionally, construction activity from 2014-2018 was higher compared to 2008-2013 period.

## Prototype
NORESCO, Updated September 2026
OfficeSmall
Characteristic | Value | Data Sources
Building Type | Small Office
Building Category | Nonresidential
Version | v2-0
Vintages | 4 Vintages: Pre-1978 , 1978-1997 ,1998-2007 , 2008-2018 New Construction (2019+) | Based on the vintage‑bin analysis. A summary of the findings is presented in the following paper, with a link provided in the Notes tab:: Yousefi, F., Athalye, R. (2025). “Determining Vintage Bins for Prototype Development: An Analysis of California Commercial Buildings.” ASHRAE Annual Conference.
Shape |  | Assume rectangular shape; supported by CBECS, CEC, and PNNL. The logic behind the geometry of the CalBEM Office prototypes' shell is described in the following paper, with a link provided in the Notes tab: Yousefi, F., & Athalye, R. (2026). "Developing a New Set of Prototypical Models for Office Buildings in California", IBPSA-USA Conference.
Total Floor Area (ft²) | 5502 (90.8 ft x 60.6ft) | Supported by Dodge 2023 data (Same as CEC and PNNL)
Aspect Ratio | 1.5 | Assumption; same as CEC and PNNL Small Office prototype
Number of Floors | 1 | Supported by Dodge 2023 data -(Same as CEC and PNNL) DEER considered two floors
Roof type | Tilted (Steep-Sloped) | Supported by CBECS 2018 data (Same as CEC and PNNL)
WWR | 24.4% for South and 19.8% for the other three orientations | Assumed based on CBECS data as well as CEC and PNNL Small Office prototype. CEC: overall 21.2% same as PNNL DEER: 33% in all directions CBECS: 11-25% (38% of samples have WWR of 11-25%; 33% have WWR 2-10%)
Shading Geometry | No Shades | Assumption; same as CEC and PNNL Small Office prototype
Floor to floor height (feet) | 10 | Assumption, standard ceiling height in office buildings; same as CEC and PNNL Small Office prototype.
Floor to ceiling height (feet) | 10 | Assumption; same as CEC and PNNL Small Office prototype
Glazing sill height (feet) | 3 (top of the window is 8 ft high with 5 ft high glass) | Assumption; same as CEC and PNNL Small Office prototype
Background Data [To be deleted prior to publication]
Equipment (Plug Load )- Prototypes comparison
|  |  | Unit | CEC OffSml | DEER OFS | PNNL | ComStock | Note
|  |  | W/ft2 | 1.5 | 1.5 | 0.63 |  | PNNL considers higher load for electric equipment
|  |  | Yearly Load multiplier | 2835.7 | 2835.7 | 3837.815

## Zones
Proposed Layout - OfficeSmall
Building | Space/Thermal Zone | Space Type [Primarily from: T24, 2022 Appendix 5.4A] - See Notes column | HVAC System Name | Schedule Category | Conditioned (Y/N) | Area Fraction | Area (ft²) | Volume (ft³) | Multipliers | Number of People | People (Persons/1,000 ft²) [T24, 2025,Table 120.1-A] | Notes | Thermal Zone Layout - Each space has its own thermal zone
Office Small | Open_Office_N | Office Area (>250 square feet) | AHU_N | Office | Yes | 16.59% | 912.6975 | 9126.975 | 1 | 4.5635 | 5
Office Small | Enclosed_Office_W | Office Area (>250 square feet) | AHU_W | Office | Yes | 16.51% | 908.46 | 9084.6 | 1 | 4.5423 | 5
Office Small | Enclosed_Office_E | Office Area (>250 square feet) | AHU_E | Office | Yes | 16.51% | 908.46 | 9084.6 | 1 | 4.5423 | 5
Office Small | Conference | Convention, Conference, Multipurpose and Meeting Area | AHU_S | Office | Yes | 8.294% | 456.35 | 4563.5 | 1 | 15.0596 | 33
Office Small | Lobby_Lounge | Lobby, Main Entry | AHU_S | Office | Yes | 8.294% | 456.35 | 4563.5 | 1 | 4.5635 | 10 | For entrance lobbies, assumed 10 persons/1000 ft² based on ASHRAE 62.1 Table 6-1 T24 assumed 33 persons/1,000 ft² for main Entry lobbies & 5 persons/1000 ft² for reception area
Office Small | Storage | Storage (General) | AHU_W | Ancillary | Yes | 13.52% | 743.8879 | 7438.8791 | 1 | 0 | 0 | Occupant load density for storage is based on T24, 2025, Appendix 5.4A. Conditioned but with higher cooling setpoint
Office Small | Mechanical_Electrical | Electrical, Mechanical, Telephone Rooms | AHU_S | Ancillary | Yes | 2.076% | 114.23 | 1142.3 | 1 |  | - | Conditioned but with higher cooling setpoint
Office Small | Restroom | Restrooms | AHU_W | Office | Yes | 4.076% | 224.28 | 2242.8 | 1 |  | -
Office Small | Break_CopyRoom | Lounge, Breakroom, or Waiting Area | AHU_S | Office | Yes | 2% | 110.05 | 1100.5 | 1 | 3.6317 | 33
Office Small | Corridor_W | Corridor Area | AHU_W | Office | Yes | 2.222% | 122.26 | 1222.6 | 1 | 0.6113 | 5
Office Small | Corridor_N | Corridor Area | AHU_N | Office | Yes | 3.842% | 211.39 | 2113.9 | 1 | 1.0569 | 5
Office Small | Corridor_E | Corridor Area | AHU_E | Office | Yes | 2.222% | 122.26 | 1222.6 | 1 | 0.6113 | 5
Office Small | Corridor_S | Corridor Area | AHU_S | Office | Yes | 3.842% | 211.39 | 2113.9 | 1 | 1.0569 | 5
Office Small | Attic | Attic | - | n/a | No | 100% | 6114.3047 | 25437.1108 | 1 |  | -
Total ( 1 Building) | Total (14 Space) | Total (9 Space) | Total (4 HVAC system) | Total (1 category) | Total (4 Conditioned zones, 1 Unconditioned Zones) | 100% | 5502.0654 | 80457.7649 | 1
| Ref: Geometry and zones: ORNL 2019 small office prototype with modification | [11 empty] | Area Distribution By Space Type
| https://web.eecs.utk.edu/~jnew1/publications/2019_IBPSA_OpenStudioOffice.pdf | [11 empty] | Space Type | % Area
| https://web.eecs.utk.edu/~jnew1/presentations/2019_IBPSA_OpenStudioOffice.pdf | [11 empty] | Office Area (>250 square feet) | 49.61%
[13 empty] | Convention, Conference, Multipurpose and Meeting Area | 8.294%
[13 empty] | Lobby, Main Entry | 8.294%
[13 empty] | Storage (General) | 13.52%
[13 empty] | Electrical, Mechanical, Telephone Rooms | 2.076%
[13 empty] | Restrooms | 4.076%
[13 empty] | Lounge, Breakroom, or Waiting Area | 2%
[13 empty] | Corridor Area | 12.13%
[13 empty] | Total | 100%
N

## Envelope
Envelope
Element | Prototype | Assembly Type | Construction | Thermal Properties | Vintage | Selected T24 | Notes | CZ1 | CZ2 | CZ3 | CZ4 | CZ5 | CZ6 | CZ7 | CZ8 | CZ9 | CZ10 | CZ11 | CZ12 | CZ13 | CZ14 | CZ15 | CZ16
External Wall | OfficeSmall | ExtWall_WoodFramed_NonRes | Wood framed wall Wood-frame walls* + insulation + Gypsum board | U-factor IP | Pre 1978 | N/A | ASHRAE 90.1, 2022, Table A3.4.3.1, 3.5", R-0 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292 | 0.292
[5 empty] | 1978-1997 | 1986 | Table 2-53V-16: Package A/ Heat Capacity was considered 10.0-14.99 (BTU/F/ft²) | 0.15083 | 0.15748 | 0.15748 | 0.14368 | 0.14368 | 0.21645 | 0.21645 | 0.21645 | 0.21645 | 0.21645 | 0.18622 | 0.18622 | 0.18622 | 0.15873 | 0.15873 | 0.15083
[5 empty] | 1998-2007 | 2001 | Table 1-H | 0.084 | 0.084 | 0.092 | 0.092 | 0.092 | 0.092 | 0.092 | 0.092 | 0.092 | 0.084 | 0.084 | 0.084 | 0.084 | 0.084 | 0.084 | 0.084
[5 empty] | 2008-2018 | 2013 | Table 140.3-B | 0.102 | 0.059 | 0.11 | 0.059 | 0.102 | 0.11 | 0.11 | 0.102 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.059 | 0.042 | 0.059
[5 empty] | 2019+ | 2025 | Table 140.3-B | 0.078 | 0.053 | 0.102 | 0.053 | 0.095 | 0.102 | 0.102 | 0.095 | 0.053 | 0.053 | 0.042 | 0.053 | 0.053 | 0.053 | 0.038 | 0.053
Flat Roof | OfficeSmall | AtticFloor Reversed | Ceiling: Wood-frame roof + insulation + Acoustic tile/Gypsum board (Attic Roof: Asphalt shingle + Plywood) | U-factor IP | Pre 1978 | 1992 | Table 2-53V-16: Considering 30 years for roof/ insulation replacement. | 0.057 | 0.057 | 0.057 | 0.057 | 0.057 | 0.078 | 0.078 | 0.078 | 0.078 | 0.078 | 0.057 | 0.057 | 0.057 | 0.057 | 0.057 | 0.057
[5 empty] | 1978-1997 | 1992 |  | 0.057 | 0.057 | 0.057 | 0.057 | 0.057 | 0.078 | 0.078 | 0.078 | 0.078 | 0.078 | 0.057 | 0.057 | 0.057 | 0.057 | 0.057 | 0.057
[5 empty] | 1998-2007 | 2001 | Table 1-H | 0.057 | 0.057 | 0.057 | 0.057 | 0.057 | 0.078 | 0.078 | 0.078 | 0.078 | 0.057 | 0.057 | 0.057 | 0.057 | 0.057 | 0.057 | 0.057
[5 empty] | 2008-2018 | 2013 | Table 140.3-B | 0.049 | 0.039 | 0.039 | 0.039 | 0.049 | 0.075 | 0.067 | 0.067 | 0.039 | 0.039 | 0.039 | 0.039 | 0.039 | 0.039 | 0.039 | 0.039
[5 empty] | 2019+ | 2025 | Table 140.3-B | 0.028 | 0.028 | 0.028 | 0.028 | 0.028 | 0.047 | 0.047 | 0.047 | 0.028 | 0.028 | 0.028 | 0.028 | 0.028 | 0.028 | 0.028 | 0.028
Windows | OfficeSmall | FixedWindow_NonRes | Mix Single and Double: CBECS 2018 shows that ~53% of small offices that were built before 2000 are single pane | U-factor IP | Pre 1978 | N/A | ASHRAE Handbook of Fundamentals (Table 10-Ch15) for single pane & T24, 2013 for double pane(53%-47%)* | 0.8239 | 0.8239 | 0.9743 | 0.9743 | 0.9743 | 0.9743 | 0.9743 | 0.9743 | 0.9743 | 0.8239 | 0.8239 | 0.8239 | 0.8239 | 0.8239 | 0.8239 | 0.8239
[5 empty] | 1978-1997 | N/A |  | 0.8239 | 0.8239 | 0.9743 | 0.9743 | 0.9743 | 0.9743 | 0.9743 | 0.9743 | 0.9743 | 0.8239 | 0.8239 | 0.8239 | 0.8239 | 0.8239 | 0.8239 | 0.8239
|  |  | Double pane |  | 1998-2007 | 2001 | Table 1-H | 0.49 | 0.49 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.81 | 0.49 | 0.49 | 0.49 | 0.49 | 0.49 | 0.49 | 0.49
[5 empty] | 2008-2018 | 2013 | Table 140.3-B | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36
[5 empty] | 2019+ | 2025 | Table 140.3-B | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.34 | 0.36 | 0.34 | 0.34 | 0.34 | 0.34 | 0.34 | 0.36
| OfficeSmall | FixedWindow_NonRes | Mix Single and Double: CBECS 2018 shows that ~53% of small offices that were built before 2000 are single pane | SHGC | Pre 1978 | N/A | ASHRAE Handbook of Fundamentals (Table 10-Ch15) for single pane & T24, 2013 for double pane(53%-47%)* | 0.6208 | 0.5879 | 0.6114 | 0.6114 | 0.6114 | 0.602 | 0.602 | 0.602 | 0.602 | 0.5879 | 0.5879 | 0.5879 | 0.5879 | 0.5879 | 0.5879 | 0.6208
[5 empty] | 1978-1997 | 1986 |  | 0.6208 | 0.5879 | 0.6114 | 0.6114 | 0.6114 | 0.602 | 0.602 | 0.602 | 0.602 | 0.5879 | 0.5879 | 0.5879 | 0.5879 | 0.5879 | 0.5879 | 0.6208
[5 empty] | 1998-2007 | 2001 | Table 1-H : WWR:20-30 / SHGC non-north | 0.43 | 0.36 | 0.41 | 0.41 | 0.41 | 0.39 | 0.39 | 0.39 | 0.39 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.43
[5 empty] | 2008-2018 | 2013 | Table 140.3-B | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
[5 empty] | 2019+ | 2025 | Table 140.3-B | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.22 | 0.25 | 0.22 | 0.22 | 0.22 | 0.22 | 0.22 | 0.25
Infiltration
|  |  | Building | Zones | Vintage | I_75 6-sided Infiltration rate @ 75 pa | Note | CZ1: I-design (cfm/ft²) (4-sided Infiltration rate at normal pressure) (Design flow rate approach and Flow/Exterior Wall Area calculation method)
|  | Infiltration | OfficeSmall |  | Pre 1978 | 1.1 | 2022 CASE report (Table 38) | CZ1: #REF! | Building 6 sided area= | #REF!
[5 empty] | 1978-1997 | 1.1 | 2022 CASE report (Table 38) | CZ1: #REF! | Building 4 sided area= | #REF!
[5 empty] | 1998-2007 | 1.1 | 2022 CASE report (Table 38) | CZ1: #REF! | 6 sided /4 sided factor= | #REF!
[5 empty] | 2008-2018 | 1 | 2022 CASE report (Table 38) & T24, 2008-2016 (Table 140.3-C) | CZ1: #REF! | Floor Area | 5502.48
[5 empty] | 2019+ | 0.6* | 2022 CASE report (Table 38) & T24, 2025 (Table 140.3-C) | CZ1: #REF! | Wall Area | #REF!
|  |  |  | Source: Title 24 air barrier requirements (all editions) and the standardized infiltration rate reported in the 2022 CASE report and Dodge 2023 data | [19 empty] | Floor Number | 1
* Better to consider 0.6 for New construction instead of being very stringent align with the Appendix G of ASHRAE 90.1 (which is almost 0.4)
|  |  |  | Air Leakage Memo: |  | Infiltration_rate_report_14May2025-Short-Version.docx

## HVAC System
HVAC System - OfficeSmall | [6 empty] | HVAC System Layout
Vintage | Heating | Cooling | Air Distribution | Other Systems | Source
Existing | Furnace (Gas) | Packaged (DX) | Single Duct CAV | OA mixing Economizer for Vintage 3 and 4 DCV for 4 (for qualifying high density rooms) | CEUS 2022
New Construction | Packaged SZ HP | Packaged SZ HP | Single Duct CAV | OA mixing Economizer DCV for qualifying high density rooms | T24 2025
Efficiency of HVAC System (Efficiency is capacity-dependent. The following table provides a general estimate of system efficiency based on what we saw in the existing prototype runs, or assuming cooling load based on rule of thumb)
Vintage | Upgrade Code | Heating | Cooling | Source |  | COP | Source | R (Adjustment factor)
Pre 1978 | 2008 | Efficiency 80% | SEER=13.0 for <65 kBtu/h 10.1 EER for 65-135 kBtu/h 9.5 EER for 135-240 kBtu/h 9.3 EER & 9.7 IPLV for >240 kBtu/h | T24, Table 112-A (2008) 10 CFR § 431.97, Table 1 (2008) California Title 20 Appliance Efficiency Regulations, Table E-4, Standards for Gas- and Oil-Fired Central Furnaces (2008) |  | 3.0663 | PNNL,2010,"Technical Support Document: 50% Energy Savings for Small Office Buildings" | 0.12
1978-1997 | [5 empty] | 3.0663
1998-2007 | [5 empty] | 3.0663
2008-2018 | 2013 | Efficiency 80% | SEER 13 for <65 kBtu/h 11 EER & 11.2 IEER for 65-135 kBtu/h 10.8 EER & 11 IEER for 135-240 kBtu/h 9.8 EER & 9.9 IEER for >240 kBtu/h | T24, 2013 Table 110.2-J & Table 110.2-A (2013) 10 CFR § 431.97(b) Table 1 (2013) |  | 3.0663
New Construction | 2025 | HSPF 8.0 for <65 kBtu/h COP 3.4 for 65-135 kBtu/h COP 3.3 for 135-240 kBtu/h COP 3.2 for >240 kBtu/h | SEER 14 for <65 kBtu/h EER 10.8, IEER 13.9 for 65-135 kBtu/h EER 10.4, IEER = 13.3 135-240 kBtu/h EER 9.3, IEER=12.3 for >240 kBtu/h | 10 CFR § 431.97(b) Table 1 (2025) Title 20 Appliance Efficiency Regulations, Section 1605.1, Table C-5 (2025) T24, Table 110.2-B (2025) |  | 3.9952
Fan power
Vintage | Approach | System | Total Static Pressure (TSP) (in w.c.) | Fan Efficiency [ACM 2025] | Motor Efficiency | Fan Power Index (W/cfm) | Data Source
Existing | PNNL 90.1-2011, TSP | CAV, design airflow < 7,437 cfm | 2.5 | 0.65 | ASHRAE 90.1, 2004, Table 10.8 * |  | Fan power formula: PNNL 20405, 2010, section 5.2.2.5 TSP and fan efficiency: PNNL 20405, 2010, Table 5.11, 90.1-04ac values Motor and drive efficiency: ASHRAE 90.1, 2004, Table 10.8 | PNNL 20405, 2010, Table 5.11
Brake horsepower (bhp) = (Supply cfm × TSP in w.c.) / (6356 × fan efficiency)
Fan power (w/cfm) = (bhp × 746) / ( supply cfm × motor efficiency )
New Construction | ACM 2025 | Packaged SZHP (System 3b), CAV, ≤5,000 cfm | TSP = fan power × motor efficiency × fan efficiency × 6356 / 746 | 0.65 | 2025 ACM Table 12 ** | 0.744 | Fan power index: [ACM 2025, Table 13] Motor efficiency: [ACM 2025, Table 12]
* According to PNNL 20405 section 5.2.2.5, the full-load efficiency of the motor serving the fan is taken from ASHRAE 90.1, 2004, Table 10.8, based on motor nameplate and assuming enclosed motors operating at 1,800 rotations per minute (rpm) Motor nameplate size (bhp) = brake horsepower (bhp) × 1.1 ( using a 10% oversizing factor)
** The full‑load efficiency of the motor serving the fan is taken from ACM 2025 Table 12 based on the cfm of the fan. Brake horsepower (bhp) = (Supply cfm from sizing run × fan power in W/cfm) / 746. Note: Same index as Hotel Small System 3b SZHP ≤5,000 cfm.
〖𝐹𝑎𝑛 𝑝𝑜𝑤𝑒𝑟〗_(𝑤/𝑐𝑓𝑚)=(〖𝑇𝑆𝑃〗_(𝑖𝑛 𝑤.𝑐)∗746)/(6356∗𝜇_𝑓𝑎𝑛∗𝜇_𝑚𝑜𝑡𝑜𝑟 )
𝑏ℎ𝑝=(𝑐𝑓𝑚∗〖𝑇𝑆𝑃〗_(𝑖𝑛 𝑤.𝑐.))/〖6356∗𝜇〗_𝑓𝑎𝑛
〖𝐹𝑎𝑛 𝑝𝑜𝑤𝑒𝑟〗_(𝑤/𝑐𝑓𝑚)=(𝑏ℎ𝑝∗746)/(𝑐𝑓𝑚∗𝜇_𝑚𝑜𝑡𝑜𝑟 )
𝑏ℎ𝑝=(〖𝐹𝑎𝑛 𝑝𝑜𝑤𝑒𝑟〗_(𝑤/𝑐𝑓𝑚)∗𝑐𝑓𝑚∗𝜇_𝑚𝑜𝑡𝑜𝑟)/746

## Thermostat
Thermostat Setpoints - OfficeSmall
Spaces/Zones | Setpoint | CZ1 | CZ2 | CZ3 | CZ4 | CZ5 | CZ6 | CZ7 | CZ8 | CZ9 | CZ10 | CZ11 | CZ12 | CZ13 | CZ14 | CZ15 | CZ16 | Source
All conditioned zones except Storage & Mechanical_Electrical | Heating Setpoint (F) | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | T24 2022 - Appendix 5.4B
| Heating Setback (F) | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
| Cooling Setpoint (F) | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
| Cooling Setback (F) | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Storage & Mechanical_Electrical | Heating Setpoint (F) | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | Enginnering Judgment
| Heating Setback (F) | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
| Cooling Setpoint (F) | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
| Cooling Setback (F) | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Note: The Small Office prototypes by CEC and DEER both use the same setpoints.
Note: The Small Office prototype by PNNL also uses the same setpoints, except for one of the perimeter zones, which has a heating setpoint of 69 °F and a cooling setpoint of 76 °F during hours of 10:00-11:00, 12:00-13:00, and 14:00-15:00 .

## Ventilation
Outdoor Airflow Rate - OfficeSmall
Space/Thermal Zone | Number of People | Floor Area (ft²) | cfm/person (T24, 2025, Equation 120.1-F and Table 120.1-A) | cfm/ft² (T24, 2025, Equation 120.1-F and Table 120.1-A) | Required Exhaust Rate (T24, 2025, Table 120.1-B – Minimum Exhaust Rates) | Total cfm Driven by People | Total cfm Driven by Area | Total cfm Driven by Exhaust | Total cfm | Notes
Open_Office_N | 4.5635 | 912.6975 | 15 | 0.15 |  | 68.4523 | 136.9046 |  | 136.9046 | Office space/Occupancy Category - Office Buildings | AHU | cfm
Enclosed_Office_W | 4.5423 | 908.46 | 15 | 0.15 |  | 68.1345 | 136.269 |  | 136.269 | Office space/Occupancy Category - Office Buildings | AHU_N | 155.2436
Enclosed_Office_E | 4.5423 | 908.46 | 15 | 0.15 |  | 68.1345 | 136.269 |  | 136.269 | Office space/Occupancy Category - Office Buildings | AHU_W | 266.1912
Conference | 15.0596 | 456.35 | 15 | 0.15 |  | 225.8933 | 68.4525 |  | 225.8933 | Conference/meeting/Occupancy Category - General | AHU_E | 204.608
Lobby_Lounge | 4.5635 | 456.35 | 15 | 0.15 |  | 68.4525 | 68.4525 |  | 68.4525 | Main entry lobbies/Occupancy Category - Office Buildings | AHU_S | 397.6635
Storage | 0 | 743.8879 | 15 | 0.15 |  | 0 | 111.5832 |  | 111.5832 | Occupiable storage rooms for dry materials/Occupancy Category - Office Buildings
Mechanical_Electrical | 0 | 114.23 | 15 | 0.15 |  | 0 | 17.1345 |  | 17.1345 | All Other
Restroom | 0 | 224.28 | 15 | 0.15 | 2 * 25/50 per unit | 0 | 33.642 | 50 | 50 | All Other
Break_CopyRoom | 3.6317 | 110.05 | 15 | 0.15 |  | 54.4748 | 16.5075 |  | 54.4748 | Breakrooms/Occupancy Category - Office Buildings
Corridor_W | 0.6113 | 122.26 | 15 | 0.15 |  | 9.1695 | 18.339 |  | 18.339 | Corridors /Occupancy Category - General
Corridor_N | 1.0569 | 211.39 | 15 | 0.15 |  | 15.8542 | 31.7085 |  | 31.7085 | Corridors /Occupancy Category - General
Corridor_E | 0.6113 | 122.26 | 15 | 0.15 |  | 9.1695 | 18.339 |  | 18.339 | Corridors /Occupancy Category - General
Corridor_S | 1.0569 | 211.39 | 15 | 0.15 |  | 15.8542 | 31.7085 |  | 31.7085 | Corridors /Occupancy Category - General
Attic | 0 | 6114.3047 |  |  |  | 0 | 0 |  | 0

## Water Heater
Water Heater - OfficeSmall
Vintage | WH Type | Efficiency | Number of WH | Tank Volume (gal) | Tank Loss | Source
Existing | Gas | 0.8 | 1 | See table below for CZ-specific values: Climate Zone Water Heater Sizing and Loss Coefficients, Storage Volume column (col F) | See table below: Climate Zone Water Heater Sizing and Loss Coefficients, Standby Loss column (col G) | See table below for sources: Climate Zone Water Heater Sizing and Loss Coefficients
New Construction | Gas | 0.8 | 1 | See table below for CZ-specific values: Climate Zone Water Heater Sizing and Loss Coefficients, Storage Volume column (col F) | See table below: Climate Zone Water Heater Sizing and Loss Coefficients, Standby Loss column (col G) | See table below for sources: Climate Zone Water Heater Sizing and Loss Coefficients
Peak Hot Water Consumption
Space Name | Baseline WH Type [T24, 2022, Appendix 5.4A , sheet: "2022 SpaceFuncData-Input"] | Total Area (ft²) | Number of People | Hot Water Usage Specification (gal/hr per person) [T24, 2022, Appendix 5.4A , sheet: "2022 SpaceFuncData-Input"] | Peak Hot Water Usage (gal/hr) | Peak Hot Water Usage (gal/min) | Note
Open_Office_N | Gas* | 912.6975 | 4.5635 | 0.18 | 0.82143 | 0.01369 | For space types marked with an asterisk (the ‘*’ symbol), the water‑heater type is listed as electric in Appendix 5.4A, sheet ‘2022 SpaceFuncData‑Input.’ However, we modified the value based on CEUS data, which indicates that gas is the primary fuel type.
Enclosed_Office_W | Gas* | 908.46 | 4.5423 | 0.18 | 0.81761 | 0.013627
Enclosed_Office_E | Gas* | 908.46 | 4.5423 | 0.18 | 0.81761 | 0.013627
Conference | Gas* | 456.35 | 15.0596 | 0.09 | 1.3554 | 0.022589
Lobby_Lounge | Gas | 456.35 | 4.5635 | 0.09 | 0.41071 | 0.0068452
Storage | Gas* | 743.8879 | 0 | 0 | 0 | 0
Mechanical_Electrical | Gas* | 114.23 | 0 | 0.18 | 0 | 0
Restroom | Gas | 224.28 | 0 | 0 | 0 | 0
Break_CopyRoom | Gas* | 110.05 | 3.6317 | 0.09 | 0.32685 | 0.0054475
Corridor_W | Gas* | 122.26 | 0.6113 | 0 | 0 | 0
Corridor_N | Gas* | 211.39 | 1.0569 | 0 | 0 | 0
Corridor_E | Gas* | 122.26 | 0.6113 | 0 | 0 | 0
Corridor_S | Gas* | 211.39 | 1.0569 | 0 | 0 | 0
Attic | Gas | 6114.3047 | 0 | 0 | 0 | 0
Total | Gas storage |  |  |  | 75 |  | Minimum peak hot water usage is 75 gal according to ACM 2025
Total | Electric resistance |  |  |  | 0
Design supply temperature (°F) | 135 | Title 24 2022 Reference Appendices, Appendix 5.4B
WH system factor | 0.6 | 2025 ACM §5.9.2 Rated Capacity
Water mass conversion (lb/gal) | 8.2877 | 2025 ACM §5.9.2 Rated Capacity
Reheat multiplier | 0.4 | 2025 ACM §5.9.2 Storage Volume
Climate Zone Water Heater Sizing and Loss Coefficients
Water Heater Name | Climate Zone | Minimum Monthly Mains Temp (°F) [T24 2022 - Appendix 5.4B] | Heat Output (Btu/hr) [ACM, 2025, 5.9.2: Rated capacity section] | WH Capacity (Btu/hr) [ACM, 2025, 5.9.2: Rated capacity section] | Required Energy Input (Btu/hr) | Storage Volume (gal) | Standby Loss [Title 20, §1605.1 Table F-4; Appendix B: Water Heating Calculation Method] |  | Off/On Cycle Loss Coefficient to Ambient Temp |  | Source/Note
WH_OfficeSamll | CZ01 | 47.9 | 54139.4002 | 32483.6401 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F | Required Energy Input: vendor/available catalog size (Market data table). Storage Volume: standard/available catalog tank size (Market data table).
WH_OfficeSamll | CZ02 | 50.8 | 52336.8255 | 31402.0953 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ03 | 52.2 | 51466.617 | 30879.9702 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ04 | 52.7 | 51155.8282 | 30693.4969 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ05 | 51.6 | 51839.5635 | 31103.7381 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ06 | 56.8 | 48607.3605 | 29164.4163 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ07 | 58.4 | 47612.8365 | 28567.7019 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ08 | 58.4 | 47612.8365 | 28567.7019 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ09 | 57.6 | 48110.0985 | 28866.0591 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ10 | 57.1 | 48420.8872 | 29052.5323 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ11 | 50.5 | 52523.2987 | 31513.9792 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ12 | 51.4 | 51963.879 | 31178.3274 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ13 | 51.7 | 51777.4057 | 31066.4434 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ14 | 50.1 | 52771.9297 | 31663.1578 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ15 | 63.2 | 44629.2645 | 26777.5587 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
WH_OfficeSamll | CZ16 | 41.4 | 58179.654 | 34907.7924 | 60000 | 34 | 716.4047 | Btu/hr | 10.2344 | Btu/h·°F
Market data
Catalog gas input (Btu/h) | Input source | Elec resistance tank (kW) | Elec resistance (Btu/h) | Catalog gas tank (gal) | Tank source | Elec tank (gal) | Elec tank source | Sources and links → Note tab
60000 | Grainger | 1.5 | 5118 | 34 | ENERGY STAR | 6 | Grainger
75100 | Grainger | 2 | 6824 | 35 | Grainger | 10 | Grainger
76000 | Both | 3 | 10236 | 48 | Grainger | 15 | Grainger
80000 | Grainger | 4.5 | 15355 | 50 | Both | 20 | Grainger
99900 | ENERGY STAR | 6 | 20473 | 55 | ENERGY STAR | 28 | Grainger
100000 | Both | 8 | 27297 | 60 | ENERGY STAR | 30 | Grainger
120000 | ENERGY STAR | 9 | 30709 | 65 | Both | 36 | Grainger
125000 | Both | 10 | 34121 | 72 | Grainger | 40 | Grainger
130000 | Both | 12 | 40946 | 75 | Both | 47 | Grainger
145000 | ENERGY STAR | 12.1 | 41287 | 76 | Grainger | 50 | Grainger
150000 | ENERGY STAR | 18 | 61419 | 80 | Both | 65 | Grainger
156000 | Grainger | 24 | 81891 | 82 | Grainger | 80 | Grainger
160000 | Both | 27 | 92128 | 85 | Grainger | 85 | Grainger
175000 | ENERGY STAR | 36 | 122837 | 90 | Both | 105 | Grainger
180000 | Grainger | 54 | 184256 | 91 | Grainger | 120 | Grainger
199000 | ENERGY STAR |  |  | 100 | Both
199900 | Both |  |  | 110 | ENERGY STAR
200000 | ENERGY STAR |  |  | 119 | Both
250000 | Both |  |  | 125 | ENERGY STAR
251000 | ENERGY STAR
270000 | Grainger
285000 | ENERGY STAR
300000 | Both
320000 | ENERGY STAR
360000 | Grainger
398000 | ENERGY STAR
399000 | ENERGY STAR
399900 | Both
499900 | Grainger
550000 | Grainger
715000 | Grainger

## Interior Lights
Interior Lighting - OfficeSmall
Space Type | New Construction |  |  | Existing |  |  | Note
| LPD (W/ft²) | Additional LPD for Portable Lighting (W/ft²) | Source | LPD (W/ft²) | Additional LPD for Portable Lighting (W/ft²) | Source
Office Area (>250 square feet) | 0.6 | 0.1 | T24, part 6, 2025, Table 140.6 C Technology : LED | 0.75 | - | T24, part 6, 2013, Table 140.6 C Technology: 59% LED, 31% halogen, 7% CFL (Comstock 2023) | It is assumed that 50% of the additional allowance lighting is in use.
Convention, Conference, Multipurpose and Meeting Area | 0.75 |  |  | 1.4
Lobby, Main Entry | 0.7 | 0.25 |  | 1.5 | 0.5
Storage (General) | 0.4 |  |  | 0.6
Electrical, Mechanical, Telephone Rooms | 0.4 |  |  | 0.7
Restrooms | 0.65 |  |  | 0.65
Lounge, Breakroom, or Waiting Area | 0.55 | 0.125 |  | 1.1 |  |  | 2013 LPD is for "Lounge" area It is assumed that 50% of the additional allowance lighting is in use.
Corridor Area | 0.4 |  |  | 0.6
Attic
According to CEUS, more than 80% of existing small office upgraded their lighting system between 2014-2018 and it conflicts the lighting generation considered by Comstock.
Whole Building method
| 2025 | 2013
LPD for Office Building ((W/ft²) | 0.6 | 0.8 | Ref: T24, Table 140.6 B

## Ext Lighting
Exterior Lighting - OfficeSmall
Motion Controlled Luminaires (W) | Non-motion Controlled Luminaires (W) | Total (W) | Source
382.2628 | 155.1514 | 537.4142 | T24, 2022 & 2025 2019 Outdoor Lighting CASE report PNNL 90.1-2010 TSD
Exterior Lighting
Items (Assume LZ2) | Assumptions [2019 Outdoor Lighting CASE Report & PNNL 90.1-2010 TSD] |  | Unit | Lighting Power Allowance [T24, 2025, Table 140.7-A & 140.7-B] | Unit | Exterior Lighting Power (W)
IWA (Initial Wage Allowance) |  |  |  | 200 | (W) | 200
Parking area | 400 ft² for every parking space [2019 Lighting CASE report, Appendix H] 1 parking space per 250 ft² of gross building area [2019 Lighting CASE report,Table 38] | 8803.3047 | (ft²) | 0.019 | (W/ft²) | 167.2628
Building Entrance | 1 building entrance (1 per 10,000 ft² footprint) | 1 | (count) | 15 | (W/ea) | 15
Hardscape Ornamental Light | 0.1 ft² per 1 ft² of gross building area for hardscape ornamental light [2019 Lighting CASE report,Table 36] | 550.2065 | (ft²) | 0.007 | (W/ft²) | 3.8514
Building façade | 0.1 W per ft² of facade area Façade Area* = Perimeter × 0.5 × height (30 ft is the max height that is lit) The 0.5 factor assumes that only half of the perimeter walls are lit. -Formula is developed based on the 2019 Outdoor Lighting CASE report | 1513 | (ft²) | 0.1 | (W/ft²) | 151.3
Motion controlled Luminaires | [5 empty] | 382.2628
Non-motion-controlled Luminaires | [5 empty] | 155.1514
Total | [5 empty] | 537.4142
*Developed based on 2019 Outdoor Lighting CASE Report
Perimeter (ft) | 302.6
Total floor area (ft²) | 5502.0654
Floors (above ground) | 1

## Equipment
Equipment - OfficeSmall
Space Name | Plug load Power Density (W/ft²) | Gas Power Density (Btu/hr-ft²) | Refrigeration Power Density (W/ft²) | Source
Office Area (>250 square feet) | 0.7 |  |  | Proposed Updates to Equipment Power Densities and Schedules in the 2028 Energy Code Nonresidential and Multifamily Alternative Calculation Method (NRMFACM) Reference Manual, August 7, 2025
Convention, Conference, Multipurpose and Meeting Area | 1 |  |  | T24 2022 - Appendix 5.4A
Lobby, Main Entry | 0.5
Storage (General) | 0.2
Electrical, Mechanical, Telephone Rooms | 3
Restrooms | 0
Lounge, Breakroom, or Waiting Area | 1
Corridor Area | 0

## Schedules
Schedules - OfficeSmall
Zone | Schedule Category | Schedule | Source | Type | Hour
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
All zones excluding Storage & Mechanical_Electrical | Office | Occupancy | T24 2022 - Appendix 5.4B, [Office] Updated base on Plug load and schedules project with CEC, 2025 | Weekday | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.2 | 0.95 | 0.95 | 0.95 | 0.95 | 0.5 | 0.95 | 0.95 | 0.95 | 0.95 | 0.3 | 0.1 | 0.1 | 0.1 | 0.1 | 0.05 | 0.05
|  |  |  | Saturday | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Sunday | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0
All zones excluding Storage & Mechanical_Electrical | Office | Lights | T24 2022 - Appendix 5.4B, [Office] | Weekday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.1 | 0.1 | 0.3 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.35 | 0.3 | 0.3 | 0.2 | 0.2 | 0.1 | 0.05
|  |  |  | Saturday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
|  |  |  | Sunday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
All zones excluding Storage & Mechanical_Electrical | Office | ElecEquipment | Plug load and schedules project with CEC, 2025 | Weekday | 0.45 | 0.45 | 0.45 | 0.45 | 0.45 | 0.45 | 0.45 | 0.74 | 0.87 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.7 | 0.5 | 0.5 | 0.5 | 0.45 | 0.45 | 0.45
|  |  |  | Saturday | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43
|  |  |  | Sunday | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43 | 0.43
All zones excluding Storage & Mechanical_Electrical | Office | HVACAvail | T24 2022 - Appendix 5.4B, [Office] | Weekday | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | Saturday | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0
|  |  |  | Sunday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
All zones excluding Storage & Mechanical_Electrical | Office | ServiceHotWater | T24 2022 - Appendix 5.4B, [Office] | Weekday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.08 | 0.07 | 0.19 | 0.35 | 0.38 | 0.39 | 0.47 | 0.57 | 0.54 | 0.34 | 0.33 | 0.44 | 0.26 | 0.21 | 0.15 | 0.17 | 0.08 | 0.05 | 0.05
|  |  |  | Saturday | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.07 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.06 | 0.06 | 0.09 | 0.06 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.07 | 0.04 | 0.04
|  |  |  | Sunday | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.07 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.06 | 0.06 | 0.09 | 0.06 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.07 | 0.04 | 0.04
All zones excluding Storage & Mechanical_Electrical | Office | Infiltration | T24 2022 - Appendix 5.4B, [Office] Updated base on Plug load and schedules project with CEC, 202 | Weekday | 1 | 1 | 1 | 1 | 1 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
Saturday | bar: Hour 1 to Hour 24
Sunday | bar: Hour 1 to Hour 24
All zones excluding Storage & Mechanical_Electrical | Office | HtgSetpt |  | Weekday | 60 | 60 | 60 | 60 | 60 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70
|  |  |  | Saturday | 60 | 60 | 60 | 60 | 60 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 70 | 60 | 60 | 60 | 60 | 60
|  |  |  | Sunday | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
All zones excluding Storage & Mechanical_Electrical | Office | ClgSetpt |  | Weekday | 85 | 85 | 85 | 85 | 85 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
|  |  |  | Saturday | 85 | 85 | 85 | 85 | 85 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 85 | 85 | 85 | 85 | 85
|  |  |  | Sunday | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Storage & Mechanical_Electrical
Storage & Mechanical_Electrical | Ancillary | Occupancy | T24 2022 - Appendix 5.4B Updated base on office schedule | Weekday | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.2 | 0.95 | 0.95 | 0.95 | 0.95 | 0.5 | 0.95 | 0.95 | 0.95 | 0.95 | 0.3 | 0.1 | 0.1 | 0.1 | 0.1 | 0.05 | 0.05
|  |  |  | Saturday | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Sunday | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0
Storage & Mechanical_Electrical | Ancillary | Lights | T24 2022 - Appendix 5.4B Updated base on office schedule | Weekday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.1 | 0.1 | 0.3 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.35 | 0.3 | 0.3 | 0.2 | 0.2 | 0.1 | 0.05
|  |  |  | Saturday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
|  |  |  | Sunday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
Storage & Mechanical_Electrical | Ancillary | HVACAvail | T24 2022 - Appendix 5.4B | Weekday | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | Saturday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Sunday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage & Mechanical_Electrical | Ancillary | ServiceHotWater | T24 2022 - Appendix 5.4B | Weekday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Saturday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Sunday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Storage & Mechanical_Electrical | Ancillary | Infiltration | T24 2022 - Appendix 5.4B | Weekday | 1 | 1 | 1 | 1 | 1 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
Saturday | bar: Hour 1 to Hour 24
Sunday | bar: Hour 1 to Hour 24
Storage & Mechanical_Electrical | Ancillary | HtgSetpt | Engineering Judgement | Weekday | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
|  |  |  | Saturday | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
|  |  |  | Sunday | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Storage & Mechanical_Electrical | Ancillary | ClgSetpt | Engineering Judgement | Weekday | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
|  |  |  | Saturday | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
|  |  |  | Sunday | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85 | 85
Other
| Building | ExtLightingNonMotionCtrl |  | Weekday | bar: Hour 1 to Hour 24
Saturday | bar: Hour 1 to Hour 24
Sunday | bar: Hour 1 to Hour 24
| Building | ExtLightingMotionCtrl |  | Weekday | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
|  |  |  | Saturday | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
|  |  |  | Sunday | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Office | Building | FunctionalAreaPeopleActivityLevel | Based on Activilty level schedules in CEC Prototypes | Weekday | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9
|  |  |  | Saturday | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9
|  |  |  | Sunday | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9 | 131.9
Conference room | Building | MeetingAreaPeopleActivityLevel | Based on Activilty level schedules in CEC Prototypes | Weekday | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2
|  |  |  | Saturday | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2
|  |  |  | Sunday | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2 | 117.2
Corridor, Lobby, Restroom, Mech, Storage, Break | Building | CommonAreaPeopleActivityLevel | Based on Activilty level schedules in CEC Prototypes | Weekday | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5
|  |  |  | Saturday | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5
|  |  |  | Sunday | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5 | 146.5
Background Data [To be deleted prior to publication]
| Equipment | PNNL | Office Zones | Weekday | 0.40948 | 0.40948 | 0.40948 | 0.40948 | 0.40948 | 0.40948 | 0.47975 | 0.47975 | 0.95951 | 0.95951 | 0.95951 | 0.95951 | 0.90193 | 0.95951 | 0.95951 | 0.95951 | 0.95951 | 0.47975 | 0.1919 | 0.1919 | 0.1919 | 0.1919 | 0.1919 | 0.16379
|  |  |  | Saturday | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379
|  |  |  | Sunday | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379
Operating Schedule
| System Capacity fraction | Developed based on CEC and CEUS | Office Zones | Weekday | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.7 | 0.5 | 0.3 | 0.2 | 0.2 | 0 | 0
|  |  |  | Saturday | 0 | 0 | 0 | 0 | 0 | 0 | 0.1 | 0.1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.05 | 0.005 | 0 | 0 | 0 | 0 | 0
Sunday
Alternative HVAC System Operating
| Alternative HVAC System Operating | Developed based on CEC schedules and CEUS operating hours | Office Closed Zones | Weekday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Saturday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Sunday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Office Open Zones | Weekday | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0
|  |  |  | Saturday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Sunday | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | ElecEquipment | CEC Small Office | Weekday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.1 | 0.1 | 0.3 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.5 | 0.3 | 0.3 | 0.2 | 0.2 | 0.1 | 0.05
|  |  |  | Saturday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.1 | 0.1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
|  |  |  | Sunday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
|  | ElecEquipment | PNNL Small Office | Weekday | 0.40948 | 0.40948 | 0.40948 | 0.40948 | 0.40948 | 0.40948 | 0.47975 | 0.47975 | 0.95951 | 0.95951 | 0.95951 | 0.95951 | 0.90193 | 0.95951 | 0.95951 | 0.95951 | 0.95951 | 0.47975 | 0.1919 | 0.1919 | 0.1919 | 0.1919 | 0.1919 | 0.16379
|  |  |  | Saturday | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379
|  |  |  | Sunday | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379 | 0.16379
|  | ElecEquipment | DEER Small Office | Weekday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.1 | 0.1 | 0.3 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.5 | 0.3 | 0.3 | 0.2 | 0.2 | 0.1 | 0.05
|  |  |  | Saturday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.1 | 0.1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
|  |  |  | Sunday | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05

## Energy Usage (hidden)
CalBEM Energy Consumption - OfficeSmall | [7 empty] | National Average (EnergyStar Portfolio Manager) |  |  |  |  | CEUS Energy Consumption - OfficeSmall
Prototype | CZ | CalBEM Electricity EUI (KBTU/ft²) | CalBEM Gas EUI (KBTU/ft²) | CalBEM Total EUI (KBTU/ft²) | New Construction Electricity EUI (KBTU/ft²) | New Construction Gas EUI (KBTU/ft²) | New Construction Total EUI (KBTU/ft²) | National Average | Acceptable RangeRange (25% Higher) | Acceptable RangeRange (25% Lower) | National Average Acceptable Range | Zip code | Prototype | CZ | Total Floorspace (Thousand of ft2) | CEUS 2022 Electric Energy Intensity (kWh/ft²) | CEUS 2022 Annual Gas Intensity (kWh/ft²) | CEUS 2022 Total EUI (kBtu/ft²) | Acceptable Range (25% Higher) | Acceptable Range (25% Lower) | CEUS 2022 Acceptable Range
HotelSmall | 1 | [6 empty] | 61.7 | 77.125 | 46.275 | 30.85 | 95521 | OfficeSmall | 1 | 12266 | 9.77 | 4.88 | 49.9858 | 62.4822 | 37.4893 | 24.9929
| 2 | [6 empty] | 67.5 | 84.375 | 50.625 | 33.75 | 95476 |  | 2 | 27044 | 7.5 | 5.6 | 44.6972 | 55.8715 | 33.5229 | 22.3486
| 3 | [6 empty] | 64.2 | 80.25 | 48.15 | 32.1 | 94612 |  | 3 | 84735 | 8.62 | 7.47 | 54.8991 | 68.6239 | 41.1743 | 27.4495
| 4 | [6 empty] | 69.7 | 87.125 | 52.275 | 34.85 | 93446 |  | 4 | 41723 | 8.85 | 7.21 | 54.7967 | 68.4959 | 41.0975 | 27.3984
| 5 | [6 empty] | 61.6 | 77 | 46.2 | 30.8 | 93455 |  | 5 | 11347 | 6.73 | 10.64 | 59.2664 | 74.0831 | 44.4498 | 29.6332
| 6 | [6 empty] | 71 | 88.75 | 53.25 | 35.5 | 93550 |  | 6 | 59004 | 8.01 | 3.98 | 40.9099 | 51.1373 | 30.6824 | 20.4549
| 7 | [6 empty] | 66.9 | 83.625 | 50.175 | 33.45 | 92101 |  | 7 | 54999 | 10.61 | 6.8 | 59.4029 | 74.2537 | 44.5522 | 29.7015
| 8 | [6 empty] | 67.8 | 84.75 | 50.85 | 33.9 | 92831 |  | 8 | 86435 | 7.9 | 3.79 | 39.8863 | 49.8579 | 29.9147 | 19.9431
| 9 | [6 empty] | 67.9 | 84.875 | 50.925 | 33.95 | 91505 |  | 9 | 113713 | 8.3 | 4.16 | 42.5135 | 53.1419 | 31.8851 | 21.2568
| 10 | [6 empty] | 68.3 | 85.375 | 51.225 | 34.15 | 92501 |  | 10 | 79023 | 9.01 | 4.25 | 45.2431 | 56.5539 | 33.9323 | 22.6216
| 11 | [6 empty] | 70.5 | 88.125 | 52.875 | 35.25 | 96080 |  | 11 | 37485 | 11.12 | 5.05 | 55.172 | 68.965 | 41.379 | 27.586
| 12 | [6 empty] | 69.8 | 87.25 | 52.35 | 34.9 | 95814 |  | 12 | 150207 | 10.53 | 5.82 | 55.7862 | 69.7327 | 41.8396 | 27.8931
| 13 | [6 empty] | 70.2 | 87.75 | 52.65 | 35.1 | 93721 |  | 13 | 50089 | 10.6 | 4.34 | 50.9753 | 63.7191 | 38.2315 | 25.4876
| 14 | [6 empty] | 71 | 88.75 | 53.25 | 35.5 | 93550 |  | 14 | 17716 | 7.65 | 3.93 | 39.511 | 49.3887 | 29.6332 | 19.7555
| 15 | [6 empty] | 69.7 | 87.125 | 52.275 | 34.85 | 92262 |  | 15 | 41833 | 9 | 2.08 | 37.805 | 47.2562 | 28.3537 | 18.9025
| 16 | [6 empty] | 72.5 | 90.625 | 54.375 | 36.25 | 95715 |  | 16 | 74950 | 9.33 | 4.53 | 47.2903 | 59.1129 | 35.4677 | 23.6452
Ref: CEUS 2022 Report
And converted FZ level data to CZ level

## EV Charger (hidden)
EV Charger - OfficeSmall (TBD)
According To CEUS 2022 and their survey around 2018-2020, almost 92% of small office buildings have no EV charger
Background Data [To be deleted prior to publication]
CEUS 2022 (Base on Survey 2018) | [7 empty] | The data presented in this worksheet represents the projected number of EV charger ports, or the number of cars that can be charged at the same time, for the year 2022 (last year of CEUC)
|  |  | Has EV Chargers |  |  |  |  | Level 1, 120 volt Charger (No. ports/SqFT) | [8 empty] | Level 2, 240 volt Charger (No. ports/SqFT) | [8 empty] | Level 3, DC fast (No. ports/SqFT) | [8 empty] | Charger Type Unkown (No. ports/SqFT) | [8 empty] | All Chargers Totals (No. ports/SqFT)
Calculation Method | Statewide/ Utility/ FCZ | Building Type | No | Yes | Total | Statewide/ Utility/ FCZ | Building Type | Public Only | Public & Employee | Public & Fleet | Employee Only | Employee & Fleet | Fleet Only | All 3 Types | Unknown | Level 1 Total | Public Only | Public & Employee | Public & Fleet | Employee Only | Employee & Fleet | Fleet Only | All 3 Types | Unknown | Level 2 Total | Public Only | Public & Employee | Public & Fleet | Employee Only | Employee & Fleet | Fleet Only | All 3 Types | Unknown | Level 3 Total | Public Only | Public & Employee | Public & Fleet | Employee Only | Employee & Fleet | Fleet Only | All 3 Types | Unknown | Unkonwn Total | Public Only | Public & Employee | Public & Fleet | Employee Only | Employee & Fleet | Fleet Only | All 3 Types | Unknown | Total
Floorspace-Based | Statewide | Office, Small | 91.63% | 8.371% | 100% | Statewide | Office, Small | 234.6311 | 257.2607 | 0 | 514.2646 | 0 | 22.2217 | 197.9831 | 0 | 1226.3611 | 108.945 | 831.3199 | 0 | 1332.4399 | 101.1641 | 78.5024 | 360.406 | 0 | 2812.7774 | 21.3759 | 0 | 0 | 15.7138 | 0 | 0 | 0 | 0 | 37.0897 | 56.9499 | 42.1476 | 0 | 212.1101 | 0 | 25.742 | 0 | 0 | 336.9496 | 421.9019 | 1130.7282 | 0 | 2074.5284 | 101.1641 | 126.466 | 558.3891 | 0 | 4413.1778
Floorspace-Based | FCZ01 Tot | Office, Small | 88.47% | 11.53% | 100% | FCZ01 Tot | Office, Small | 0 | 0 | 0 | 92.1148 | 0 | 0 | 5.6273 | 0 | 97.7421 | 0 | 290.1537 | 0 | 73.0277 | 95.6646 | 65.7399 | 24.3426 | 0 | 548.9286 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.9748 | 0 | 24.3426 | 0 | 0 | 52.3174 | 0 | 290.1537 | 0 | 193.1173 | 95.6646 | 90.0824 | 29.9699 | 0 | 698.988
Floorspace-Based | FCZ02 Tot | Office, Small | 87.66% | 12.34% | 100% | FCZ02 Tot | Office, Small | 0 | 0 | 0 | 0 | 0 | 21.0137 | 0 | 0 | 21.0137 | 0 | 189.1229 | 0 | 21.1561 | 0 | 0 | 0 | 0 | 210.279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 189.1229 | 0 | 21.1561 | 0 | 21.0137 | 0 | 0 | 231.2926
Floorspace-Based | FCZ03 Tot | Office, Small | 93.39% | 6.61% | 100% | FCZ03 Tot | Office, Small | 0 | 78.751 | 0 | 0 | 0 | 0 | 0 | 0 | 78.751 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12.8719 | 0 | 0 | 0 | 0 | 0 | 0 | 12.8719 | 0 | 91.6228 | 0 | 0 | 0 | 0 | 0 | 0 | 91.6228
Floorspace-Based | FCZ04 Tot | Office, Small | 82.7% | 17.3% | 100% | FCZ04 Tot | Office, Small | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44.11 | 0 | 0 | 0 | 0 | 44.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26.9845 | 0 | 0 | 0 | 0 | 0 | 0 | 26.9845 | 0 | 26.9845 | 0 | 44.11 | 0 | 0 | 0 | 0 | 71.0945
Floorspace-Based | FCZ05 Tot | Office, Small | 96.4% | 3.601% | 100% | FCZ05 Tot | Office, Small | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.6347 | 0 | 0 | 0 | 0 | 19.6347 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.6347 | 0 | 0 | 0 | 0 | 19.6347
Floorspace-Based | FCZ06 Tot | Office, Small | 93.41% | 6.592% | 100% | FCZ06 Tot | Office, Small | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.2848 | 0 | 0 | 0 | 0 | 50.2848 | 0 | 0 | 0 | 50.2848 | 0 | 0 | 0 | 0 | 50.2848
Floorspace-Based | FCZ07 Tot | Office, Small | 91.77% | 8.231% | 100% | FCZ07 Tot | Office, Small | 0 | 0 | 0 | 199.1172 | 0 | 0 | 0 | 0 | 199.1172 | 0 | 229.2222 | 0 | 397.4995 | 0 | 0 | 0 | 0 | 626.7218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229.2222 | 0 | 596.6167 | 0 | 0 | 0 | 0 | 825.839
Floorspace-Based | FCZ08 Tot | Office, Small | 86.72% | 13.28% | 100% | FCZ08 Tot | Office, Small | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77.6289 | 0 | 0 | 0 | 0 | 0 | 0 | 77.6289 | 0 | 0 | 0 | 14.8596 | 0 | 0 | 0 | 0 | 14.8596 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77.6289 | 0 | 14.8596 | 0 | 0 | 0 | 0 | 92.4885
Floorspace-Based | FCZ09 Tot | Office, Small | 90.94% | 9.064% | 100% | FCZ09 Tot | Office, Small | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Floorspace-Based | FCZ10 Tot | Office, Small | 95.6% | 4.399% | 100% | FCZ10 Tot | Office, Small | 0 | 0 | 0 | 27.5268 | 0 | 0 | 0 | 0 | 27.5268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.1608 | 0 | 0 | 0 | 0 | 50.1608 | 0 | 0 | 0 | 77.6876 | 0 | 0 | 0 | 0 | 77.6876
Floorspace-Based | FCZ11 Tot | Office, Small | 87.59% | 12.41% | 100% | FCZ11 Tot | Office, Small | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1762 | 0 | 0 | 0 | 0 | 89.1762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89.1762 | 0 | 0 | 0 | 0 | 89.1762
Floorspace-Based | FCZ12c Tot | Office, Small | 84.94% | 15.06% | 100% | FCZ12c Tot | Office, Small | 148.2736 | 164.5245 | 0 | 144.7477 | 0 | 0 | 181.593 | 0 | 639.1388 | 6.1825 | 0 | 0 | 246.2021 | 0 | 8.495 | 316.4711 | 0 | 577.3507 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49.3574 | 0 | 0 | 0 | 0 | 49.3574 | 154.456 | 164.5245 | 0 | 440.3072 | 0 | 8.495 | 498.0641 | 0 | 1265.8469
Floorspace-Based | FCZ12i Tot | Office, Small | 94.56% | 5.436% | 100% | FCZ12i Tot | Office, Small | 73.6026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73.6026 | 0 | 0 | 0 | 369.1995 | 0 | 0 | 0 | 0 | 369.1995 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53.854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 53.854 | 127.4565 | 0 | 0 | 369.1995 | 0 | 0 | 0 | 0 | 496.6561
Floorspace-Based | FCZ13 Tot | Office, Small | 96.48% | 3.519% | 100% | FCZ13 Tot | Office, Small | 0 | 0 | 0 | 22.8017 | 0 | 0 | 0 | 0 | 22.8017 | 36.1985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36.1985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.8017 | 0 | 0 | 0 | 0 | 22.8017 | 36.1985 | 0 | 0 | 45.6034 | 0 | 0 | 0 | 0 | 81.802
Floorspace-Based | FCZ16 Tot | Office, Small | 99.34% | 0.6613% | 100% | FCZ16 Tot | Office, Small | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60.6415 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60.6415 | 20.2138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20.2138 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80.8554 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80.8554
Floorspace-Based | FCZ17 Tot | Office, Small | 98.53% | 1.474% | 100% | FCZ17 Tot | Office, Small | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Weights (hidden)
% of floor area per CZ and vintage bin - OfficeSmall | [7 empty] | % of floor area per CZ and vintage bin - OfficeSmall
Prototype | CZ | Vintage Bin | [5 empty] | Prototype | Vintage Bin | CZ
|  | Pre-1978 | 1978-1997 | 1998-2007 | 2008-2018 | Not available |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16
OfficeSmall | 1 | [5 empty] | 0% | OfficeSmall | Pre-1978 | [16 empty] | 0%
| 2 | [5 empty] | 0% |  | 1978-1997 | [16 empty] | 0%
| 3 | [5 empty] | 0% |  | 1998-2007 | [16 empty] | 0%
| 4 | [5 empty] | 0% |  | 2008-2018 | [16 empty] | 0%
| 5 | [5 empty] | 0% |  | Not available | [16 empty] | 0%
| 6 | [5 empty] | 0% |  | Total
| 7 | [5 empty] | 0%
| 8 | [5 empty] | 0%
| 9 | [5 empty] | 0%
| 10 | [5 empty] | 0%
| 11 | [5 empty] | 0%
| 12 | [5 empty] | 0%
| 13 | [5 empty] | 0%
| 14 | [5 empty] | 0%
| 15 | [5 empty] | 0%
| 16 | [5 empty] | 0%
Statewide
Ref: CEUS 2022 dataset

## PV (hidden)
PV - TBD

## Data (hidden)
Space Function | Electric Equipment Load Intensity | Electric Equipment Load Intensity | LPD
Aging Eye/Low-vision (Corridor Area) |  |  | 2013 | 2016 | 2019 | 2025
Aging Eye/Low-vision (Dining)
Aging Eye/Low-vision (Lobby, Main Entry)
Aging Eye/Low-vision (Lounge/Waiting Area)
Aging Eye/Low-vision (Multipurpose Room)
Aging Eye/Low-vision (Religious Worship Area)
Aging Eye/Low-vision (Restroom)
Aging Eye/Low-vision (Stairwell)
Audience Seating Area
Auditorium Area
Auto Repair / Maintenance Area
Barber, Beauty Salon, Spa Area
Civic Meeting Place Area
Classroom, Lecture, Training, Vocational Areas
Concourse and Atria Area
Convention, Conference, Multipurpose and Meeting Area
Copy Room
Corridor Area
Dining Area (Bar/Lounge and Fine Dining)
Dining Area (Cafeteria/Fast Food)
Dining Area (Family and Leisure)
Electrical, Mechanical, Telephone Rooms
Exercise/Fitness Center and Gymnasium Areas
Financial Transaction Area
Healthcare Facility and Hospitals (Exam/Treatment Room)
Healthcare Facility and Hospitals (Imaging Room)
Healthcare Facility and Hospitals (Medical Supply Room)
Healthcare Facility and Hospitals (Nursery)
Healthcare Facility and Hospitals (Nurse's Station)
Healthcare Facility and Hospitals (Operating Room)
Healthcare Facility and Hospitals (Patient Room)
Healthcare Facility and Hospitals (Physical Therapy Room)
Healthcare Facility and Hospitals (Recovery Room)
Hotel Function Area
Kitchen/Food Preparation Area
Kitchenette or Residential Kitchen
Laboratory, Scientific
Laundry Area
Library (Reading Area)
Library (Stacks Area)
Lobby, Main Entry
Locker Room
Lounge, Breakroom, or Waiting Area
Manufacturing, Commercial & Industrial Work Area (Low Bay)
Manufacturing, Commercial & Industrial Work Area (High Bay)
Manufacturing, Commercial & Industrial Work Area (Precision)
Museum Area (Exhibition/Display)
Museum Area (Restoration Room)
Office Area (>250 square feet)
Office Area (<250 square feet)
Parking Garage Area (Parking Zone and Ramps)
Parking Garage Area (Daylight Adaptation Zones)
Pharmacy Area
Retail Sales Area (Grocery Sales)
Retail Sales Area (Retail Merchandise Sales)
Retail Sales Area (Fitting Room)
Religious Worship Area
Restrooms
Stairwell
Storage, Commercial/Industrial (Warehouse)
Storage, Commercial/Industrial (Refrigerated)
Storage, Commercial/Industrial (Shipping & Handling)
Storage (General)
Sports Arena - Playing Area (> 5,000 Spectators)
Sports Arena - Playing Area (2,000 - 5,000 Spectators)
Sports Arena - Playing Area (< 2,000 Spectators)
Sports Arena - Playing Area (Recreational)
Theater Area (Motion Picture)
Theater Area (Performance)
Transportation Function (Baggage Area)
Transportation Function (Ticketing Area)
Videoconferencing Studio
High-Rise Residential Living Spaces
Hotel/Motel Guest Room
All other
Attic
Reception Area
Elevator
Plenum
IT Room (EPD 12)
Computer Room (EPD 20)
Server Room (EPD 45)